Renderoc® HB70 Plus

**High strength, high resistivity, shrinkage compensated repair mortar for concrete**

1. Where designated on the drawings, repairs to concrete will be made using a high resistivity, shrinkage compensated cementitious mortar compatible with >45MPa concrete and conforming to EN1504-3 Class R4.

**1.10 Preparation**

Saw cut or cut back the extremities of the repair locations to a depth of at least 5mm to avoid feather edging and to provide a square edge. Break out the complete repair area to a minimum depth of 5mm up to the sawn edge. Clean the surface and remove any dust, unsound or contaminated material, plaster, oil, paint, grease, corrosion deposits or algae.

 Where breaking out is not required, roughen the surface and remove any laitance by light scabbling or grit-blasting.

**1.11** **Steel Reinforcement**

 Expose fully any corroded steel in the repair area and remove all loose scale and corrosion deposits. Steel should be cleaned to a bright condition paying particular attention to the back of exposed steel bars. Grit-blasting is recommended for this process.

 Where a reinforcement coating is required as an active corrosion protection barrier, apply one full coat of a suitable zinc-rich primer and allow to dry before continuing.

**1.12 Substrate Priming**

 The prepared substrate should be thoroughly soaked with clean water and any excess removed prior to applying one coat of the recommended primer scrubbing it well into the surface. The repair can be applied as soon as the primer becomes tacky. If the primer dries before the application of the repair mortar, the area must be re-primed before proceeding.

 In exceptional circumstances, e.g. where a substrate/repair barrier is required or where the substrate is wet or likely to remain permanently damp, epoxy bonding aid should be used. Contact the repair mortar manufacturer for further information.

**1.20 Repair Mortar**

 The repair mortar shall be a single-component polymer modified cement-based blend of powders to which only the site addition of clean water shall be permitted.

 When used in contact with drinking water, the repair mortar will be tested to and comply with AS4020:2018 at an exposure level of 15,000mm2 / litre.

The repair mortar is to be non-hazardous in accordance with Australian Inventory of Industrial Chemicals containing <0.1% RCS (Respirable Crystalline Silica).

The repair mortar shall exhibit the following typical properties:

|  |  |
| --- | --- |
| **Compressive strength (AS1478.2-2005):** | 60 MPa @ 28 days |
| **Flexural strength (AS1012.11-2000):** | 7.5 MPa @ 28 days |
| **Indirect tensile strength (AS1012.10-2000):** | 5.3 MPa @ 28 days |
| **Drying Shrinkage (25 x 25 x 285 prisms @ 27oC, 55% RH) AS 1478.2 – 2005:** | < 400 microstrain @ 7 days<600 microstrain @ 28 days |
| **Fresh Wet Density** | 2000 kg/m³ |
| **Electrical Resistivity (AASHTO TP 95:2014 50mm Probe Spacing):** | 266,000 ohm.cm @ 28 days 563,000 ohm.cm @ 56 days |

1.21 The mortar shall be applied by wet spray process or hand trowel applied in accordance with the manufacturer’s product data sheet.

**1.30** **Fosroc Renderoc HB70 Plus** with **Nitobond HAR** and **Nitoprime Zincrich** meet the performance criteria and are approved.